Wall Installation Guide
Cumbria Wall with Geosynthetic Reinforcement

Typical Wall Cross-section

Cumbria Installation Guide
(with geosynthetic reinforcement)

# Base Preparation: To start, lay out and mark where you want the front of the retaining wall. Excavate the area by removing all surface vegetation and other organic materials. Dig a base trench the length of the wall and 20 inches wide; the depth of the trench should be 6 inches. Compact the subgrade soil thoroughly and line excavated area with landscape fabric. 

Leveling Pad: Fill the trench with #57 stone to create a leveling pad. Ensure that the gravel is densely compacted using a plate compactor. 

Drainage Pipe Installation: Place a proper drainage pipe to direct water away from the wall. There are different drain pipe installation options, depending on the site conditions. See Figure 1.

Figure 1

Drain pipe installed in compacted 	                   Drain pipe installed behind first              Drain pipe installed at a higher

clean gravel.	        block.	            elevation through the wall face.

Ensure gravel fill is level with, or slightly below, the top of the wall unit. Clean off any debris from the top unit. Set connectors and move wall unit into place, no mortar needed. Ensure the wall has the proper setback.

Use gravel to fill behind and up to the height of the wall unit to continue the wall-face drain. Place and compact infill soil behind the drain. Compact both the gravel and the soil.

Pull geosynthetic reinforcement taut, removing all wrinkles and folds. Spread the gravel for wall-face drain behind and between the wall units as needed. Place infill soil and compact. Lay out the remainder of the gravel fill and compact.

Repeat for every foot of height.

Ensure gravel fill is level with or slightly below the top of the wall unit. Clean off any debris from the top unit. Cut geosynthetic reinforcement to design length and install. Place connectors and set next wall unit directly on top of geosynthetic. Make sure the wall unit is at its proper setback.

Once you are at your desired height, put down the cap unit and secure it with adhesive. Finish wall grading to direct water away from the wall. (Optional swale)

Place and level the first course of wall units on the base. It is very important to get the first row completely level before you continue building.

Carefully lay out clean gravel behind and up to the 
height of the wall unit to create a wall-face drain. 
Place and compact infill soil behind wall-face drain. 
Next, add infill soil in front of the wall unit. Compact the gravel and infill soil.

Cumbria Connectors and You

- Easy Installation

Forget the mess of mortar; connectors make wall installation a breeze. Using connectors instead of mortar means your wall will be easy to modify and have a wide range of design capabilities.

- Design Flexibility

The structural design of Cumbria walls paired with the connector system allows you to design and build practically any idea you can create, including curves and corners.

- Simple Modification

Cumbria walls and corners can be easily modified to suit your design needs. These solid units can simply be split on-site, meaning no special blocks are needed.

- Stability and Durability

Using connectors allows Cumbria walls to be stacked in three different ways: setback, stacked, and protruding; giving you the capability to create the most stable wall for your site. Cumbria walls are easily compatible with geosynthetic reinforcement and are solid units to keep your wall standing for a lifetime.

- Free-draining Wall

While mortaring your wall blocks together inhibits natural drainage through the wall face, using connectors leaves small spaces for water to leave the soil behind your retaining wall. Water and improper drainage is often the cause for wall failure; getting maximum drainage is the goal.

Visit us @ www.tricirclepavers.com

Cumbria Wall

Protruding

Place two connectors, as shown in the images, in the front slot facing towards the front of the block.

Stacked

Place two connectors, as shown in the images, in the front slot facing towards the back of the block.

Setback

Place two connectors, as shown in the images, in the back slot facing towards the back of the block.

Colors 						     Sizes

TriCircle Pavers, Inc. – Ft. Myers

2709 Jeffcott Street

Fort Myers, FL 33901

TriCircle Pavers, Inc. – Bartow

3311 Noralyn Mine Road

Bartow, FL 33830